Name: _______________________________

HWR 201

Assignment 11:  Wastewater Treatment

PART 1: Answer the following questions.

- What is meant by the strength of sewage and how is the strength measured?

- What is the basic purpose of wastewater treatment?

- What do the terms influent and effluent refer to (See Nathanson, Example 10.1)?

- What does NPDES stand for and what is its purpose?  How does NPDES tightened up efforts to control surface water pollution as compared to when only stream standards were in place?

- What is treatment efficiency?

- Describe five potential harmful effects of disposing of industrial wastewater into a municipal wastewater treatment plant.  How can these effects be prevented?

- Briefly describe preliminary and primary wastewater treatment.  Approximately what level of BOD and TSS is removed?  Is this level of treatment alone adequate by today’s standards?  According to the Clean Water Act, what is the minimum efficiency for removal of BOD and TSS in wastewater?

- What is the purpose of secondary treatment?  Why is it also called biological treatment?

- What is the difference between a fixed-growth system and a suspended growth system?

- Briefly describe how a) trickling filter works and b) how an activated sludge system works.

- What is the purpose of a chlorine contact tank?

- What is the basic purpose of tertiary treatment of sewage?

- Draw a diagram showing the flow of wastewater through a typical wastewater treatment plant.

- Under what circumstances is on-site sewage disposal warranted?

- What factors are of importance in planning and designing a subsurface wastewater disposal system?

- Describe some characteristics of the sludge that comes out of an activated sludge system.

- What is the purpose of sludge treatment and what are the four basic sludge treatment processes?

- Name 5 common ways to dispose of treated sludge.

PART 2: Problem Set

Treatment Efficiency

where   Pin = concentration of pollutant flowing into the treatment system

Pout = concentration of pollutant flowing out of the system

Efficiency = percentage removal of a pollutant

- Raw sewage flowing into a wastewater treatment plant (influent) has a BOD5 value of 350 mg/L.  The concentration of BOD5 in the treated water (effluent) is 70 mg/L.

  - What is the efficiency in removing BOD from the water?

  - Is this a great enough efficiency under the Clean Water Act?

- A primary clarifier removes TSS with an efficiency of 55%.  The effluent (coming out of the clarifier) has a concentration of 75 mg/L.  What was the TSS concentration of the influent?