LESSON J

Stormwater Management

READINGS/RESOURCE MATERIALS

- Chapter 9

- Stormwater Management Notes (J)

OBJECTIVES

- Understand why stormwater control is an important part of environmental technology.

- Know who regulates stormwater.

- Explain the Rational Formula, including the meaning of each variable and what the equation can be used for.

- Be able to use the Rational Formula to calculate peak runoff rates.

- Understand affect of the Runoff Coefficient, C, on the peak runoff rate.

- Explain the difference between a runoff coefficient and curve number.

- Define time of concentration, overland flow time, channel flow time and understand the relationship between them.

- Explain the effects of urbanization on stormwater runoff, including short-term and long-term effects.

- Describe the differences between storm sewer systems and sanitary sewer systems.

- Explain what BMP stands for and describe the two types of BMPs used in stormwater management.

- Describe the five benefits of on-site stormwater storage and some of the disadvantages.

- Describe the three different types of stormwater storage basins.

- Define a floodplain, flood hazard area, and flood fringe.

- Understand how stormwater is handled in a combined sewer system.