LESSON H

Water Pollution

READINGS/RESOURCE MATERIALS

- Chapter 5

- Water Pollutants (H)

- Point-nonpoint source handout (H)

- Mass Balance Examples (H)

OBJECTIVES

In this section, we will look at the different types of water pollutants and their impacts on water and their environment.

- Understand that there is no clear distinction between polluted and unpolluted water.  To decide how “polluted” water is depends on what the use is for the water, the types and concentrations or impurities as compared to water quality standards.

- Understand the difference between point source and nonpoint source pollution and the implications for prevention and remediation.

- Describe the various categories of water pollutants and some of their sources.

- Describe the effects of thermal pollution and how it can be controlled.

- Describe the effects of sediment pollution on aquatic systems.

- Explain what is meant by a stream’s waste assimilative capacity and factors which affect a stream’s ability to self-purify.

- Explain what physically (dispersion/mixing) and chemically (zones of pollution) happens to wastewater as it is discharged into a stream.

- Understand the usefulness of dissolved oxygen profiles and how to read them.

- Know what a deoxygenation curve, reaeration curve, dissolved oxygen sag curve show.

- Describe what is meant by an oxygen deficit and critical oxygen deficit.

- Be able to use a mass balance equation to calculate a diluted concentration of a pollutant or temperature in a stream.

- Be able to use a mass balance equation to calculate variables other than the mixed concentration.

- Understand the difference between natural and cultural eutrophication of lakes.

- Describe how pollution can cause cultural eutrophication and explain its negative effects.

- Describe some sources of groundwater contamination.

- Describe how old landfills can be sources of groundwater contamination.

- Describe some ways to prevent groundwater contamination.

- Describe some causes of ocean pollution.

- Describe the 3 types of water quality standards.

- Name the most widespread source of 1)  stream and river, and 2) groundwater pollution in the US.