LESSON I

Drinking Water Purification

READINGS/RESOURCE MATERIALS

- Chapter 6

- Drinking water purification notes (I)

OBJECTIVES

In this section, we will examine how clean water needs to be in order for it to be safe to drink and how water is cleaned on a large scale so it can be delivered to people through their faucets.  The drinking water purification methods described in this chapter are used primarily for surface water (rivers, stream, lakes) because those waters are open to the environment and contain many contaminants such as sediment, microorganisms, organic material (plant and animal), and anything dumped into the water by man (chemicals, trash, etc.).

Groundwater, on the other hand, is typically of better quality because the water has been filtered through layers of soil and because it is sheltered underground and not as susceptible to contamination from the environment.  Groundwater is usually not treated, except to add some fluoride or residual chlorine to keep it clean as it travels through pipes.  Although there are areas of groundwater contamination, they are generally due to either natural contamination from the rock material it is in contact with (such as Arsenic) or contamination from natural or synthetic chemicals (such as gasoline or solvents).  Treating water for these contaminants requires specific treatment processes different than those that are typically used in surface water treatment.

- Define potable water.

- Describe the primary objective of water purification.

- Explain why groundwater does not typically require extensive purification whereas surface water does.

- What does SDWA stand for and what is its purpose?

- Describe the difference between primary and secondary drinking water standards.

- What are MCLs and MCLGs?  What is the difference between the two?

- Be able to draw a diagram and describe the typical processes involved in the purification of surface water (See Figure 6.2).

- Make sure to understand the purpose of each of the following and describe processes:

  - Sedimentation: side water depth, freeboard, relative dimensions

  - Coagulation and Flocculation: colloids, coagulant, flocs, precipitate, alum, polymers

  - Filtration: slow sand filter, rapid sand filters, backwashing

  - Disinfection: Chlorination, ozone,

- Define the concept and formula for detention time.

- Be able to calculate a detention time.

- Explain the difference between rapid filtration and direct filtration.

- Describe what is meant by clarification.

- Understand the role of chlorination in drinking water treatment, a possible negative side effect chlorination (trihalomethanes), and ways to monitor and prevent this side affect from occurring.

- Define chlorine demand, free chlorine residual, breakpoint chlorination, contact time, and a DPD test.

- Understand the pros and cons of using ozone as a disinfectant.

- Describe two methods of water softening: lime-soda method and ion-exchange.

- Describe how aeration can be used to improve water quality.

- Describe how activated carbon can be used to improve water quality and describe its two important characteristics.

- Explain the difference between brackish water and seawater.

- Describe the two basic methods for desalinization and the most common processes used in each method.