LESSON K

Wastewater Treatment

READINGS/RESOURCE MATERIALS

- Chapter 10

- Wastewater Treatment Notes (K)

OBJECTIVES

- Describe the significant types of impurities that characterize sewage.

- Understand what is meant by the strength of sewage and how that strength is measured.

- Explain the basic purpose of wastewater treatment.

- Name the 3 basic treatment methods used in wastewater treatment.

- Explain the purpose of the Water Quality Act of 1965 and Federal Water Pollution Control Act Amendments of 1972.

- Know what NPDES stands for and what it does.

- Know what CWA stands for and what it refers to.

- Understand how NPDES tightened up efforts to control surface water pollution as compared to when only stream standards were in place.

- Understand the difference between influent and effluent.

- Describe the potential harmful effects of disposing of industrial wastewater into a municipal wastewater treatment plant and how this can be prevented.

- Be able to draw a diagram showing the flow of wastewater through a typical wastewater treatment plant.

- Understand the purpose of and be able to describe the following processes:

  - Primary Treatment

    - Pretreatment

    - Primary sedimentation: Primary clarifiers

  - Secondary Treatment (Biological treatment): trickling filters, activated sludge process, activated sludge, mixed liquor, waste activated sludge, aeration methods,

    - Secondary clarifier: Supernatant

    - Disinfection

  - Tertiary Treatment (Advanced treatment not always done)

    - Effluent polishing

    - Phosphate removal

    - Nitrogen removal

    - Land treatment –slow rate, rapid infiltration, overland flow

- Describe how to evaluate a site to determine if it is acceptable for an on-site subsurface wastewater disposal system

- Explain what a percolation test is and what it is used for.

- Describe the structure of a septic system and describe the wastewater treatment process.

- Describe 3 alternative on-site subsurface wastewater disposal system to a septic system.

- Describe the basic objectives of sewage sludge treatment.

- Describe the process used to achieve the above objectives.

- Describe five methods used for final disposal of sludge.